## Slide 1: Evaluating satellite retrievals of Integrated Water Vapour (IWV) data by co-located ground-based devices for climate change analysis
R. Van Malderen1,5, H. Brenot2, E. Pottiaux3,5, S. Beirle4, C. Hermans2, M. De Mazière2, T. Wagner4, H. De Backer1, and C. Bruyninx3
Royal Meteorological Institute of Belgium
1
Royal Observatory of Belgium
3
Belgian Institute for Space Aeronomy
2
Max Planck Institute for Chemistry
4
Solar-Terrestrial Centre of Excellence
5

## Slide 2
Instruments and datasets
Sensitivity analysis of selection criteria
  Day-night differences in AIRS
  Homogeneity of GOMESCIA
  Impact of cloud cover
Spatio-temporal variations
  Geographical variations
  Seasonal variation
Conclusions
Outline
ROB
EUMETSAT/AMS conf. Vienna, 16-20 Sept. 2013

## Slide 3
EUMETSAT/AMS conf. Vienna, 16-20 Sept. 2013
Spatio-temporal variations
Sensitivity analysis
Conclusions
ROB
total column water vapour
GOME/SCIAMACHY/GOME-2
AIRS
GPS
CIMEL sun photometer
radiosondes
Instruments & datasets

## Slide 4
EUMETSAT/AMS conf. Vienna, 16-20 Sept. 2013
ROB
Ground-based device
GNSS/GPS
International GNSS Service (IGS) database (homog. reprocessing 1995-2011)
at all weather conditions, always
high time frequency (every 5 minutes)
Ts and ps are needed: Zenith Total Delay  IWV
Spatio-temporal variations
Sensitivity analysis
Conclusions
Instruments & datasets
The IGS network of GPS stations

## Slide 5
selection of 28 sites world-wide (NH), with focus on CIMEL-GPS co-location and based on meteo data availability (GPS)!
ROB
EUMETSAT/AMS conf. Vienna, 16-20 Sept. 2013
Spatio-temporal variations
Sensitivity analysis
Conclusions
Instruments & datasets

## Slide 6
EUMETSAT/AMS conf. Vienna, 16-20 Sept. 2013
ROB
GOME/SCIAMACHY/GOME-2
air mass corrected differential optical absorption spectroscopy method applied to nadir measurements from 608-680 nm
MPI-C retrieval method
pixel size: 40 km×320 km (GOME), 30 km×60 km (SCIAMACHY), and 40 km×80 km (GOME-2)
cloud cover is an issue
data available from 1995 – now
AIRS
Atmospheric InfraRed Sounder on board Aqua
operates in the wavelength range 3.7 to 15 μm
JPL/NASA retrieval method
pixel size: ellipsoidal, with major axis varying from 13.5 km (at nadir) to 31.5 km
IWV calculated from cloud-cleared radiances
data available from 2002 - now
Satellite devices
Spatio-temporal variations
Sensitivity analysis
Conclusions
Instruments & datasets

## Slide 7
EUMETSAT/AMS conf. Vienna, 16-20 Sept. 2013
ROB
STEP 1: all overpass measurements  1 value
GPS
AIRS
Δt = 30 minutes
d < 50 km between ground pixel centre and GPS
Qual_H2O = 0 or 1 (pbest=psurf or < 300hPa)
GOMESCIA
Δt = 30 minutes
GPS station in ground pixel kkkkkkkkkkkkkkkkk
normalized O2 absorption > 1
distance ↘  correlation ↗
cloud flag criteria are necessary for “reasonable” correlations!
STEP 2: sensitivity analysis of the selection criteria
STEP 3: geographical and seasonal dependency STEP 3: of GPS-satellite IWV correlations
Instruments & datasets
Spatio-temporal variations
Conclusions
Sensitivity analysis

## Slide 8
Instruments & datasets
ROB
EUMETSAT/AMS conf. Vienna, 16-20 Sept. 2013
Brussels
“GOMESCIA” can be treated as one database, despite pixel size differences
MPI-C retrieval with instrument dependent offsets seems to work well
conclusion also valid for other stations
“GOMESCIA” ???
Spatio-temporal variations
Conclusions
Sensitivity analysis

## Slide 9
Instruments & datasets
ROB
EUMETSAT/AMS conf. Vienna, 16-20 Sept. 2013
night-time AIRS retrievals show better agreement with GPS (higher R2, lower RMS)
night-time retrievals have positive bias, daytime negative bias
daytime retrievals have higher regression slopes
Day-night difference (AIRS)
Brussels
night
day
IWV GPS [mm]
IWV GPS [mm]
conclusion also valid for other stations
Spatio-temporal variations
Conclusions
Sensitivity analysis

## Slide 10
Instruments & datasets
ROB
EUMETSAT/AMS conf. Vienna, 16-20 Sept. 2013
cloud cover ↗  correlation coefficients ↘, bias ↘ (overestimation  underestimation), RMS ↗, regression slope ↘ only for GOMESCIA
pbest = psurf  clear sky
pbest < 300hPa  cloud cover
GPS-AIRS
GPS-GOMESCIA
cloud flag ↗  O2 column density ↗  clearer sky
Cloud cover impact
Brussels
conclusion also valid for other stations
Spatio-temporal variations
Conclusions
Sensitivity analysis

## Slide 11
Instruments & datasets
ROB
EUMETSAT/AMS conf. Vienna, 16-20 Sept. 2013
GPS - GOMESCIA
GPS - AIRS
GPS - GOMESCIA
GPS - AIRS
scatter plot properties for the 28 co-locations, ordered with increasing latitude from left to right
geographical dependency?  only for RMS
Geographical variations
Sensitivity analysis
Conclusions
Spatio-temporal variations

## Slide 12
EUMETSAT/AMS conf. Vienna, 16-20 Sept. 2013
Instruments & datasets
ROB
Seasonal variation
GPS-GOMESCIA
Sensitivity analysis
Conclusions
Spatio-temporal variations
GPS-AIRS

## Slide 13
EUMETSAT/AMS conf. Vienna, 16-20 Sept. 2013
Instruments & datasets
ROB
Seasonal variation
bias minimal for maximum mean IWV (summer) and maximal for minimum mean IWV (winter) ?  different “sensitivities” of GPS and satellite sensors at the IWV  extremes
RMS maximal for maximum mean IWV and minimal for minimum mean IWV  consistent with latitudinal variation  in the presence of strong humidity gradients (moister air involved)  location and sampling differences might be more significant
Sensitivity analysis
Conclusions
Spatio-temporal variations

## Slide 14
although originally tracing other slants/directions, good agreement between GPS and satellite devices
Cloud cover is certainly an issue for satellite IWV retrievals, use of cloud flag data is essential for good agreement with GPS!
day-night differences in the AIRS IWV retrieval
Homogeneity of “GOMESCIA” database (1995-2011) seems OK for our purposes.
only for RMS of GPS-satellite scatter plots: seasonal and latitudinal dependency (RMS ∝ mean IWV)
submitted to ACP
Instruments & datasets
ROB
EUMETSAT/AMS conf. Vienna, 16-20 Sept. 2013
Sensitivity analysis
Spatio-temporal variations
Conclusions
Conclusions